## Slide 1: Introduction to colocalisation analysis Part 3

## Slide 2: Co-occurance Based approaches

## Slide 3: Object-based correlation coefficients
Detect objects:
  Thresholding
  Local maxima detection
Relate objects:
  % Overlap
But with high resolution, probes may not overlap!
  Nearest Neighbour
  Mean Distance to Other objects
  Cluster analysis
Chart: Red

## Slide 5: Relating different objects
Thresholded Dots
Find Maxima Dots
Nuclear Dots
Non-Nuclear Dots

## Slide 6: A more refined approach relates distances…
Counting pixels – limited resolution, but fast:
(x1, y1)
(x2, y2)
d
(x1, y1)
1
2
3
(x2, y2)
  Euclidean geometry – computationally intensive:

## Slide 7: Distance Maps
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0
0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0
0 | 1 | 1 | 2 | 1 | 1 | 1 | 2 | 1 | 0
0 | 1 | 1 | 2 | 2 | 2 | 2 | 1 | 1 | 0
0 | 0 | 1 | 2 | 3 | 3 | 2 | 1 | 0 | 0
0 | 1 | 1 | 2 | 2 | 2 | 2 | 1 | 0 | 0
0 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1
1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Slide 8: Using maps to plot distances
Chart: Distance to Nucleus
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140
 | 15 | 27 | 29 | 29 | 17 | 15 | 10 | 18 | 15 | 9 | 6 | 8 | 5 | 5 | 1

## Slide 9: Demo 7: Calculate relative nuclear expression

## Slide 10: Challenge 1: nuclear localisation
Open the images in the Challenge 1 folder with Bio-Formats:
Measure the mean distance of dots in channel 1 to the nuclei in channel 2
  Generate a distance map based on the nuclear channel
  Detect the dots in channel 1
  Use the Particle Analyzer to measure the distance of each dot from the nuclei

## Slide 13: Demo 8: distance maps to measure localisation

## Slide 14: Challenge 2: colocalization of dots
Open the images in the Challenge 2 folder with Bio-Formats:
Measure the mean distance of dots in channel 1 to the dots in channel 2
  Generate a distance map based on the dots in channel 1
  Detect the dots in channel 2
  Use the Particle Analyzer to measure the distance of each dot in one channel from the other

## Slide 16: “Colocalisation” means different things to different people
Red + Green = Yellow?
Co-occurrence:
  Molecules present in a region
  No concentration relationship
Correlation analysis:
  Stoichiometric relationship between molecules
  No spatial information
A
B
Chart: Fluorescence Intensity

## Slide 18: The Importance of controls

## Slide 19: Controls
Correlation coefficients mean little in isolation
  Analyses should include positive and negative controls
But, control samples may not exist
  Practical alternative: generate a “random” distribution by scrambling, translation or rotation.

## Slide 20: Generating controls
P = -0.06
P = 0.95
Original
Rotated 90°
Randomised
P = 0.00

## Slide 21: Things to consider when generating controls
P = 0.95
Original
Random Noise
P = 0.00
Spatial Autocorrelation: the value of one pixel is likely to be similar to that of its neighboring pixels.
Most indicate a block size should be the size of the PSF
  Should equal or exceed the size of the objects in an image