## Slide 1: What is Quantitative Colocalisation?
Dunn et al., Am J Physiol Cell Physiol, 2011
“Under the conditions of proportional co-distribution, points of the scatterplot cluster around a straight line, whose slope reflects the ratio of the fluorescence of the two probes.”

## Slide 2
Two criteria must be met:
  Co-occurrence - spatial overlap of probes
  Correlation - probes are co-distributed
Distribution may overlap, but not proportionally
  DAPI will overlap with nuclear proteins, but will unlikely be proportional

## Slide 3: Correlative/intensity-based approaches

## Slide 4: Intensity-based correlation coefficients
Pearsons
  Analysis of signal correlation
Spearmans
  Similar to Pearsons
  Less sensitive to outliers
Manders
  Analysis of signal overlap
Chart: Red

## Slide 5: COLOC2 – FIJI Plugin for colocalisation analysis

## Slide 6: Pearson’s correlation coefficient
Mean red intensity in whole image
Difference between each red pixel and the mean red intensity
Variance in red signal
The coefficient is normalised to the standard deviation across the two channels to ensure that values range from -1 to +1

## Slide 7: Pearson’s correlation coefficient
38.7 | 47.2
178.9 | 187.5
47.8 | 252.4
137.9 | 51.1
-74.4 | -65.9
65.9 | 74.4
-74.5 | 130.1
15.6 | -71.2
Mean: 113.1
Mean: 122.3
113.3
122.3
-74.4 | X | -74.5 | = | 5543
-65.9 | X | 130.1 | = | -8571
65.9 | X | 15.6 | = | 1026
74.4 | X | -71.2 | = | -5297
5535 |  | 5550
4343 |  | 16926
4343 |  | 243
5535 |  | 5069
If two targets are functionally related, their abundances will be predictably related
 |  |  |  | -7298
19751 |  | 27788

## Slide 8: What does this number mean?
To what extent is intensity variation in one channel explained by variation in another…

## Slide 9: Pearsons can be the same for very different data…
…and intermediate values can be difficult to interpret

## Slide 10: Demo 1: Pearson’S Correlation coefficient

## Slide 11: Quiz 3: Pearson’S Correlation coefficient
Open the image in the Quiz 3 folder with Bio-Formats:
Using Coloc2, calculate Pearson’s correlation coefficient for the image

## Slide 12: Influence of NOISE & background
“Background” refers to the amount of offset in an image
“Noise” refers to the variability in a measurement
Both have impacts on colocalisation

## Slide 13: Background causes spurious results
Dunn et al., Am J Physiol Cell Physiol, 2011
Quantification of PCC within cells indicates poor association (PCC = 0.16)
When quantified over entire image, PCC = 0.39

## Slide 14: Noise results in “Less” correlation
Pcc = 0.41
Pcc = 0.33
Sample can exhibit high co-occurrence, but low correlation

## Slide 15: Filtering suppresses Noise
But information is lost!

## Slide 16: Demo 2: Influence of background & Noise

## Slide 17: Quiz 4: Influence of Background & Noise
Open the images in the Quiz 4 folder with Bio-Formats:
Using Coloc2, calculate Pearson’s correlation coefficient for both images
The images show the same field of view, but the correlation coefficients are different – why?

## Slide 18: Pearson’s: Pros & Cons
Easy to measure
Broadly applicable
Independent of signal levels
Same amount of signal overlap can have dramatically different PCC values
Intermediate values difficult to interpret
Background pixels artificially inflate PCC values
Empty areas within cells have similar effect
Depends on linear relationship between probe intensities
PROS
CONS

## Slide 19: Spearman’s correlation coefficient
Pearson’s skewed by non-linearity, such as outliers
Spearman’s similar to Pearson’s, but compares ranks rather than values
Chart: 
| 238 | 114 | 9 | 7 | 500 | 23 | 18 | 147 | 14 | 1
 | 48 | 73 | 138 | 102 | 10000 | 186 | 169 | 11 | 82 | 37
Chart: 
| 2 | 4 | 8 | 9 | 1 | 5 | 6 | 3 | 7 | 10
 | 8 | 7 | 4 | 5 | 1 | 2 | 3 | 10 | 6 | 9
Red | Green | Rank Red | Rank Green
96 | 93 | 6 | 7
177 | 209 | 3 | 3
41 | 30 | 10 | 10
43 | 94 | 9 | 6
500 | 10000 | 1 | 1
112 | 165 | 4 | 4
102 | 234 | 5 | 2
194 | 75 | 2 | 8
79 | 104 | 7 | 5
64 | 52 | 8 | 9
Pc = 0.9
Sc = 0.1

## Slide 20: Demo 3: Spearman’s Correlation Coefficient

## Slide 21: Quiz 5: Spearman’s Correlation Coefficient
Open the images in the Quiz 5 folder with Bio-Formats:
Using Coloc2, calculate Spearman’s and Pearson’s correlation coefficients for both images
Which coefficient is more appropriate to quantify colocalization in these images? Why?

## Slide 22
Both measure poorly the quantity that is typically at the heart of most analyses of colocalization in cell biology:
The fraction of one family of objects that localizes with another.

## Slide 23: HYBRID approach: Manders Coefficient

## Slide 24: Mander’s coefficient
Independent of signal proportionality
Sensitive to co-occurrence, the fraction of pixels with signals from both channels
Overlap Coefficient:
Problem: Image must contain meaningful “zero” values.
Colocalisation Coefficient:

## Slide 25
Mred-green = 0.59
Mgreen-red = 0.68

## Slide 26: Demo 4: Manders’ Correlation Coefficient

## Slide 27: Calculating Thresholds

## Slide 29: A Refresher on thresholding
“Background”
“Foreground”
Can be exploited for segmentation

## Slide 30: Particle Analyser generates rois
Masks and ROIS can be considered one and the same

## Slide 32: Costes’ Regression
Costes et al., Biophys J, 2004
Chart: Green
Tr = 200
Tg = 220
Tr = 170
Tg = 180
Tr = 128
Tg = 130
Tr = 70
Tg = 90
Tr = 50
Tg = 50
P>T = 0.90
P<T = 0.60
P>T = 0.80
P<T = 0.45
P>T = 0.70
P>T = 0.60
P>T = 0.50
P<T = 0.30
P<T = 0.15
P<T = 0.00

## Slide 33
This should be close to zero

## Slide 34: Demo 5: Setting Thresholds & Defining Regions

## Slide 35: Quiz 6: Setting Thresholds & Defining Regions
Open the image in the Quiz 6 folder with Bio-Formats:
Use the DAPI channel to define an ROI and measure colocalisation in the other two channels
According to Pearson’s correlation coefficient, what is the extent of colocalisation between channels 2 and 3 within the nuclei?

## Slide 36
Dunn et al., Am J Physiol Cell Physiol, 2011

## Slide 38: Useful References
https://dx.doi.org/10.1083/jcb.200903097
https://dx.doi.org/10.1073/pnas.1711314115
https://dx.doi.org/10.1152/ajpcell.00462.2010
https://doi.org/10.1111/j.1365-2818.2006.01706.x
https://doi.org/10.1529/biophysj.103.038422
https://doi.org/10.1242/jcs.211847
https://doi.org/10.1371/journal.pone.0111983
https://doi.org/10.1038/nmeth.3587