## Slide 1: Introduction to colocalisation analysis Part 1

## Slide 3
Part 1:
  What is colocalisation?
  How do we measure it?
Part 2:
  Intensity-based localisation
Part 3:
  Object-based localisation
Ongoing:
  ?

## Slide 4
4 Teams
6 Quizzes - 11 Points in Total
2 Challenges - 14 Points in Total

## Slide 5: What do we mean by colocalisation?

## Slide 6: What do we mean by colocalisation?
Typically refers to one of two things:
  Biologists’ Definition: Co-occurrence of two or more proteins
  Statisticians’ Definition: Correlation of two fluorescent signals
A
B
Chart: Fluorescence Intensity

## Slide 7: Biologists’ assessment often visual
Simplest Case:
  Merge two fluorescence pseudo-coloured images
  Assess whether different wavelengths are present in same pixels
    E.g. Red + Green = Yellow
  Problem:
    Intermediate colour (e.g. yellow) only visible if probes overlap in similar proportions

## Slide 8: “Colour” is highly subjective

## Slide 9
Which nucleus is brighter?
Same Intensity

## Slide 11: Quiz 1: How many colours Are There?

## Slide 12: Co-Occurance never actually happens!
Deconvolved Widefield
Confocal
Super-Resolution
There is no such thing as “colocalisation”!

## Slide 13: what if DOTs overlap at max resolution?
Fluorophores reside within same volume.
Volume at least one order of magnitude larger than protein complexes

## Slide 14: To put that in perspective…
Imaging volume in confocal microscopy approx. 250 x 250 x 750 nm
Imaging volume can accommodate 2,500 GFP molecules!
24 Å
42 Å

## Slide 15: Correlation is not causation
Colocalisation does not imply interaction
Non-colocalisation probably implies no interaction
Dividing line between colocalisation and non-colocalisation is arbitrary
Extent of colocalisation decreases with increasing spatial resolution
Chart: Spatial Resolution
| 1 | 2 | 3 | 4
Y-Values | 4 | 3 | 2 | 1
Demmerle et al., Nat Protocols, 2017
Relative Localisation
Correlation Analysis

## Slide 16: Quiz 2
Which of the following determines the resolution of an image?
Magnification
Image size
Pixel size
Microscope type (widefield, confocal, light-sheet, etc.)
None of the above

## Slide 17: To Summarise: “Colocalisation” means different things to different people…
Red + Green = Yellow?
Co-occurrence:
  Molecules present in a region
  No concentration relationship
Correlation analysis:
  Stoichiometric relationship between molecules
  No spatial information
A
B
Chart: Fluorescence Intensity

## Slide 18: What is Quantitative Colocalisation?
Dunn et al., Am J Physiol Cell Physiol, 2011
“Under the conditions of proportional co-distribution, points of the scatterplot cluster around a straight line, whose slope reflects the ratio of the fluorescence of the two probes.”

## Slide 19
Two criteria must be met:
  Co-occurrence - spatial overlap of probes
  Correlation - probes are co-distributed
Distribution may overlap, but not proportionally
  DAPI will overlap with nuclear proteins, but will unlikely be proportional

## Slide 20: Correlative/intensity-based approaches

## Slide 21: Intensity-based correlation coefficients
Pearsons
  Analysis of signal correlation
Spearmans
  Similar to Pearsons
  Less sensitive to outliers
Manders
  Analysis of signal overlap
Chart: Red

## Slide 22: Pearson’s correlation coefficient
Mean red intensity in whole image
Difference between each red pixel and the mean red intensity
Variance in red signal
The coefficient is normalised to the standard deviation across the two channels to ensure that values range from -1 to +1

## Slide 23: Pearson’s correlation coefficient
47.8 | 252.4
137.9 | 51.1
-74.5 | 130.1
15.6 | -71.2
Mean: 113.1
Mean: 122.3
113.3
122.3
-74.4 | X | -74.5 | = | 5543
74.4 | X | 130.1 | = | 9683
65.9 | X | 15.6 | = | 1026
-65.9 | X | -71.2 | = | 4690
5535 |  | 5550
4343 |  | 16926
4343 |  | 243
5535 |  | 5069
If two targets are functionally related, their abundances will be predictably related
 |  |  |  | 20944
19751 |  | 27788

## Slide 24: What does this number mean?
To what extent is intensity variation in one channel explained by variation in another…

## Slide 26: Pearsons can be the same for very different data…

## Slide 27: Pearsons can be the same for very different data…
…and intermediate values can be difficult to interpret

## Slide 28: COLOC2 – FIJI Plugin for colocalisation analysis

## Slide 29: Demo 1: Pearson’S Correlation coefficient

## Slide 30: Quiz 3: Pearson’S Correlation coefficient
Open the image in the Quiz 3 folder with Bio-Formats:
Using Coloc2, calculate Pearson’s correlation coefficient for the image

## Slide 31: Influence of NOISE & background
“Background” refers to the amount of offset in an image
“Noise” refers to the variability in a measurement
Both have impacts on colocalisation

## Slide 32: Background causes spurious results
Dunn et al., Am J Physiol Cell Physiol, 2011
Quantification of PCC within cells indicates poor association (PCC = 0.16)
When quantified over entire image, PCC = 0.39

## Slide 33: Noise results in “Less” correlation
Pcc = 0.41
Pcc = 0.33
Sample can exhibit high co-occurrence, but low correlation

## Slide 34: Filtering suppresses Noise
But information is lost!

## Slide 35: Demo 2: Influence of background & Noise

## Slide 36: Quiz 4: Influence of Background & Noise
Open the images in the Quiz 4 folder with Bio-Formats:
Using Coloc2, calculate Pearson’s correlation coefficient for both images
The images show the same field of view, but the correlation coefficients are different – why?

## Slide 37: Pearson’s: Pros & Cons
Easy to measure
Broadly applicable
Independent of signal levels
Same amount of signal overlap can have dramatically different PCC values
Intermediate values difficult to interpret
Background pixels artificially inflate PCC values
Empty areas within cells have similar effect
Depends on linear relationship between probe intensities
PROS
CONS

## Slide 38: Spearman’s correlation coefficient
Pearson’s skewed by non-linearity, such as outliers
Spearman’s similar to Pearson’s, but compares ranks rather than values
Chart: 
| 238 | 114 | 9 | 7 | 500 | 23 | 18 | 147 | 14 | 1
 | 48 | 73 | 138 | 102 | 10000 | 186 | 169 | 11 | 82 | 37
Chart: 
| 2 | 4 | 8 | 9 | 1 | 5 | 6 | 3 | 7 | 10
 | 8 | 7 | 4 | 5 | 1 | 2 | 3 | 10 | 6 | 9
Red | Green | Rank Red | Rank Green
96 | 93 | 6 | 7
177 | 209 | 3 | 3
41 | 30 | 10 | 10
43 | 94 | 9 | 6
500 | 10000 | 1 | 1
112 | 165 | 4 | 4
102 | 234 | 5 | 2
194 | 75 | 2 | 8
79 | 104 | 7 | 5
64 | 52 | 8 | 9
Pc = 0.9
Sc = 0.1

## Slide 39: Demo 3: Spearman’s Correlation Coefficient

## Slide 40: Quiz 5: Spearman’s Correlation Coefficient
Open the images in the Quiz 5 folder with Bio-Formats:
Using Coloc2, calculate Spearman’s and Pearson’s correlation coefficients for both images
Which coefficient is more appropriate to quantify colocalization in these images? Why?

## Slide 41
Both measure poorly the quantity that is typically at the heart of most analyses of colocalization in cell biology:
The fraction of one family of objects that localizes with another.

## Slide 42: HYBRID approach: Manders Coefficient

## Slide 43: Mander’s coefficient
Independent of signal proportionality
Sensitive to co-occurrence, the fraction of pixels with signals from both channels
Overlap Coefficient:
Problem: Image must contain meaningful “zero” values.
Colocalisation Coefficient:

## Slide 44
Mred-green = 0.59
Mgreen-red = 0.68

## Slide 45: Demo 4: Manders’ Correlation Coefficient